## DESIGN & BUILD INDICATIVE BOQ
SUMMARY COST FOR CONSTRUCTION WORKS
Item No. | Description of Works | Unit | Qty | Rate (USD) | Amount (USD)
1 | PRELIMINARIES, GENERAL REQUIREMENTS AND CONTRACTOR’S OBLIGATIONS
1.1 | Mobilization, establishment of site offices for hosting project meetings and consultant’s site team, temporary facilities, utilities, storage, security and demobilization | LS | 1
1.2 | Site verification, detailed measurements, surveys and verification of existing structures, utilities and operational constraints | LS | 1
1.3 | Project management, supervision, coordination, reporting and contract administration | LS | 1
1.4 | Health, Safety and Environmental management including PPE, temporary barriers, signage and dust control | LS | 1
1.5 | Temporary operational protections, phased execution arrangements and maintenance of operational continuity | LS | 1
1.6 | Permits, approvals, inspections and statutory compliance requirements | LS | 1
1.7 | Quality assurance, method statements, inspection and testing plans, samples and certifications | LS | 1
1.8 | Performance bond (10%) and insurances | LS | 1
1.9 | Environmental and Social (ES) Performance Security: Provide bank performance guarantee of 1.5% of the total contract amount from a reputable commercial bank tier one valide for the entire construction duration. | LS | 1
Sub Total 1
2 | DETAILED DESIGN, DESIGN VERIFICATION, SHOP DRAWINGS AND APPROVALS
2.1 | Site surveys, condition assessment, dimensional verification and confirmation of existing utilities, structures and operational constraints | LS | 1
2.2 | Design verification of Employer’s Requirements, conceptual sketches, operational workflow, cold chain requirements and proposed interventions | LS | 1
2.2A | ESIA screening and study, license/permit, and ESMP monitoring (including Health, Safety and Environmental management, PPE, temporary barriers, signage, dust control etc.) | LS | 1
2.3 | Detailed architectural design including layouts, hygienic finishes, internal reconfiguration, dock interfaces and operational circulation | LS | 1
2.4 | Detailed civil and structural design including demolition verification, structural checks, foundations, slabs, drainage, ramps, tank bases and support structures | LS | 1
2.5 | Detailed refrigeration and cold chain design including cold rooms, dispatch/inlet temperature-controlled areas, insulated panels, doors, refrigeration capacity, controls and temperature monitoring | LS | 1
2.6 | Detailed mechanical, plumbing, water purification and wastewater treatment design including pumps, pipework, drainage, treatment systems and equipment interfaces | LS | 1
2.7 | Detailed electrical design including power supply upgrades, distribution boards, cabling, lighting, emergency lighting, earthing, controls and equipment connections | LS | 1
2.8 | Detailed fire protection design including fire tank, pump house, pumps, hydrants, hose cabinets, pipework, fire brigade connections and controls | LS | 1
2.9 | Detailed ICT infrastructure design: communications room, containment, power and earthing for ICT, traceability, CCTV and access-control equipment supplied under Tender PRQ20260122, coordinated with the Lot 2 and Lot 3 suppliers | LS | 1
2.10 | Food safety, HACCP, ISO 22000 and GlobalG.A.P. design compliance review, including hygienic zoning, cleanability, contamination control and operational flow | LS | 1
2.11 | Preparation and submission of coordinated detailed design drawings, calculations, technical specifications, equipment schedules and material schedules | LS | 1
2.12 | Preparation and submission of shop drawings, installation drawings, method statements and manufacturer technical submittals | LS | 1
2.13 | Design review meetings, revisions, approvals and coordination with Employer, beneficiary, authorities and specialist suppliers | LS | 1
Sub Total 2
3 | INTERNAL DEMOLITION AND PROCESSING AREA RECONFIGURATION
3.1 | Demolition of identified internal partitions, ceilings, doors, windows and associated finishes | LS | 1
3.2 | Removal and making safe of redundant electrical, plumbing and mechanical services | LS | 1
3.3 | Protection of existing structural elements, operational areas and utilities during demolition | LS | 1
3.4 | Removal and disposal of demolition debris | LS | 1
3.5 | Repair and reinstatement of affected walls, ceilings, floors and finishes | LS | 1
3.6 | Reconfiguration of processing area into continuous unobstructed operational layout | LS | 1
Sub Total 3
4 | EPOXY FLOORING AND HYGIENIC INTERNAL FINISHES
4.1 | Repair, grinding, levelling and preparation of floor surfaces | LS | 1
4.2 | Supply and application of heavy-duty industrial food-grade resin flooring system (epoxy primer, self-levelling epoxy body coat, anti-slip broadcast where required and seal coat), min. 3 mm generally and min. 6 mm (or PU-cement) in wet and heavy-traffic zones, e.g. Sikafloor-161 + Sikafloor-263 SL or approved equivalent, all in accordance with the Minimum Resin Flooring Specification in the Employer's Requirements | LS | 1
4.3 | Provision of non-slip, seamless, abrasion-resistant and hygienic finishes | LS | 1
4.4 | Hygienic wall/floor junction treatment, sealing and coving | LS | 1
Sub Total 4
5 | AUTOMATED GRADING LINE READINESS AND OPERATIONAL INTERFACES
5.1 | Preparation of operational layout for automated avocado grading and packing line | LS | 1
5.2 | Provision of service points, drainage interfaces, power connections and operational clearances | LS | 1
5.3 | Coordination with pallet movement, forklift circulation and grading operations | LS | 1
5.4 | Hygienic operational preparation and integration with export handling workflow | LS | 1
5.5 | Design and construction of box folding (carton make-up) and packaging materials area directly linked to the grading-line packing stations, including all civil, structural, architectural, finishes and building services works (area and location as confirmed at the site visit/pre-bid meeting and issued by addendum) | LS | 1
Sub Total 5
6 | DISPATCH ENTRANCE UPGRADE AND TEMPERATURE-CONTROLLED LOADING AREA
6.1 | Demolition of existing dispatch veranda and associated structures and walls and other structures | LS | 1
6.2 | Civil and structural works for new dispatch entrance and loading interface | LS | 1
6.3 | Supply and installation of insulated sandwich panels, walls and roof systems | LS | 1
6.4 | Construction of temperature-controlled loading area integrated with packhouse | LS | 1
6.5 | Hygienic concrete floors, drainage, non-slip finishes and washdown provisions | LS | 1
6.6 | Dock bumpers, truck guide rails, strip curtains and/or airlock systems | LS | 1
6.7 | Refrigeration systems, controls and temperature monitoring systems | LS | 1
Sub Total 6
7 | RAW PRODUCE DELIVERY INLET UPGRADE
7.1 | Removal of existing raised access arrangements and retaining wall elements where required | LS | 1
7.2 | Civil and structural works for new raw produce inlet area | LS | 1
7.3 | Construction of covered truck access, ramps and operational interfaces | LS | 1
7.4 | Insulated sandwich panels, roofing and hygienic washable finishes | LS | 1
7.5 | Refrigeration systems, dock bumpers, strip curtains and airlock arrangements | LS | 1
Sub Total 7
8 | COLD ROOM UPGRADES AND ADDITIONAL COLD ROOM
8.1 | Upgrade of existing cold rooms and refrigerated staging areas | LS | 1
8.2 | Insulated partitions, high-speed insulated doors and cold room accessories | LS | 1
8.3 | Supply and installation of additional cold room complete with insulated enclosure | LS | 1
8.4 | Refrigeration equipment, controls, monitoring systems and alarms | LS | 1
8.5 | Lighting, drainage, electrical systems and cold room accessories | LS | 1
8.6 | Testing, balancing and commissioning of refrigeration systems | LS | 1
Sub Total 8
9 | WATER PURIFICATION SYSTEM
9.1 | Design, supply and installation of complete food-grade water purification system | LS | 1
9.2 | Raw water storage, treated water storage tanks and pipework | LS | 1
9.3 | Multimedia filtration, activated carbon filtration and UV sterilization systems | LS | 1
9.4 | Booster pumps, controls, monitoring systems and distribution network | LS | 1
9.5 | Testing, commissioning and training for water purification system | LS | 1
Sub Total 9
10 | WASTEWATER TREATMENT SYSTEM
10.1 | Design, supply and installation of wastewater collection and treatment system | LS | 1
10.2 | Internal drainage channels, collection systems and screening chambers | LS | 1
10.3 | Sedimentation, biological treatment and disinfection systems | LS | 1
10.4 | Sludge handling arrangements and effluent discharge system | LS | 1
10.5 | Testing, commissioning and environmental compliance verification | LS | 1
Sub Total 10
11 | FIREFIGHTING SYSTEM
11.1 | Design, supply and installation of complete firefighting system | LS | 1
11.2 | 50 m³ semi-underground firefighting water tank | LS | 1
11.3 | Fire pump set, jockey pump and diesel standby pump | LS | 1
11.4 | Pump house construction and associated civil works | LS | 1
11.5 | Fire hose cabinets, external hydrants and brigade connection points | LS | 1
11.6 | Fire pipework, valves, controls and accessories | LS | 1
11.7 | Testing, pressure testing and commissioning of firefighting system | LS | 1
Sub Total 11
12 | ELECTRICAL WORKS AND POWER DISTRIBUTION
12.1 | Electrical power supply upgrades and verification of existing capacities | LS | 1
12.2 | Distribution boards, switchgear, breakers and protection systems | LS | 1
12.3 | Cable routing, containment systems, conduits and trunking | LS | 1
12.4 | Lighting, emergency lighting and operational electrical installations | LS | 1
12.5 | Equipment electrical connections and refrigeration electrical systems | LS | 1
12.6 | Earthing, bonding, surge protection and electrical safety systems | LS | 1
12.7 | Testing, commissioning and certification of electrical installations | LS | 1
Sub Total 12
13 | MECHANICAL, PLUMBING AND DRAINAGE WORKS
13.1 | Plumbing works, treated water distribution and washdown systems | LS | 1
13.2 | Internal drainage systems, floor drains and wastewater connections | LS | 1
13.3 | Mechanical supports, pipe supports and coordination of MEP interfaces | LS | 1
13.4 | Testing, flushing, disinfection and commissioning of plumbing systems | LS | 1
Sub Total 13
14 | TESTING, COMMISSIONING, TRAINING AND HANDOVER
14.1 | Testing and commissioning of all civil, MEP, refrigeration, ICT infrastructure and fire systems, and attendance on the PRQ20260122 suppliers during their site acceptance tests | LS | 1
14.2 | Cold chain performance verification and temperature monitoring validation | LS | 1
14.3 | Water quality and wastewater effluent testing | LS | 1
14.4 | Training of Employer’s personnel and operational demonstrations | LS | 1
14.5 | Submission of as-built drawings, O&M manuals, warranties and certificates | LS | 1
14.6 | Final cleaning, inspection support and project handover | LS | 1
Sub Total 14
15 | DEFECTS NOTIFICATION PERIOD OBLIGATIONS
15.1 | Rectification of defects during the Defects Notification Period | LS | 1
15.2 | Replacement of defective materials, equipment and workmanship | LS | 1
15.3 | Attendance to operational failures and system malfunctions | LS | 1
15.4 | Final close-out inspection and DNP completion obligations | LS | 1
During the Defects Notification Period, the Contractor shall rectify any outstanding E&S matters (including preparation of an ESMP implementation closure report), and any defects in the Works at no additional cost to the Employer.
Sub Total 15
Add 10% contingency
Sub Total 16
Add VAT
GRAND TOTAL CARRIED TO FORM OF TENDER

## Rev 3 notes
Rev 3 – changes following NAEB comments of 24.09.2026 and TMA review (changed cells highlighted yellow)
Item | Change | Reason
2.2A–2.13 | Items renumbered; ESIA item given number, unit and quantity | Two items were numbered 2.9 and 2.10 had collapsed to "2.1"; the ESIA item had no unit or quantity
2.9 | Re-scoped to ICT infrastructure design; the two unnumbered rows on data ownership and platform migration were deleted | Traceability software and ICT hardware are procured under PRQ20260122 Lot 3; the clauses were moved there
4.2 | Flooring description states the system, minimum thickness and reference product "or approved equivalent" | NAEB comment: specification missing
5.5 (new) | Box folding (carton make-up) and packaging materials area | NAEB comment; area and location to be confirmed at the site visit/pre-bid meeting and issued by addendum
14.1 | Digital FAT/SAT removed and the two unnumbered FAT/SAT and API-testing rows deleted; attendance on the PRQ20260122 suppliers’ SAT added | Moved to PRQ20260122 Lot 3
14.5, 15.4 | Software documentation and software-defect obligations removed | Moved to PRQ20260122 Lot 3